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	TECHNICAL REVIEW COMMITTEE MINUTES – SITE-2023-0007

	
		

	
	Application Type:
	Site Review

	
	Applicant(s):
	Knox Marsh Development, LLC

	
	Owner(s):
	Robert Baldwin

	
	Location:  
	34 New Rochester Road (Tax Map 39, Lot 103)

	
	Date:
	November 30, 2023



INTENT: To construct 6 two-family structures (12 units in total) with the single-family dwelling to remain on the property. In addition to the Copper Drive Project under construction.

UNITS PROPOSED: 12, plus existing (13 in total)

AGENDA ITEM #: 3

ACREAGE:
Existing = 0.47± ac.
Post Lot Merger = 103,666± sq. ft.

ZONING DISTRICT: G

EXISTING LAND USE: Single-family residence

PROPOSED LAND USE: Add 12 residential units

SURROUNDING LAND USE: Residential, Willand Pond

ZBA ACTION: None

PERMITS REQUIRED:
· EPA NOI
· NHDES Sewer Discharge Permit
· CUPs for lot coverage, frontage build out, front build to line. 

WAIVERS REQUESTED:
· Drainage pipe

ATTENDANCE:
Donna Benton, Planning
Paul Crouser, Zoning
Marn Speidel, Police
Jim Maxfield, Fire/Inspection Services
Ken Mavrogeorge, Engineering
James Burdin, Business Development
Others: Kevin Poulin
Robert Baldwin
Erin Bassegio, Planning
PLAN REVIEW: 
Planning:
· Impact fees
· Water and sewer investment fees
· CUPs for lot coverage, frontage build out, front build to line. Only 3 non-enviro CUPs needed
· Sidewalk contribution 
· Revise plans: 
· Owner’s signatures on the final plans
· Professional stamps on the final plans
· Confirm lighting meets regulations
· Lot merger as a COA
· Active and passive rec fee as a COA
· Contribute towards sewer modeling 
· HOA documents to be reviewed
· Development Agreement needed
· [bookmark: _Hlk152602192]Section 157-31.F. Block size requires no less than 500’

Engineering: 
· General Comment:
· It is strongly recommended that the Applicant submit a detailed breakdown of proposed HOA costs for annual maintenance and replacement of private infrastructure including backup as to how the fees are estimated. Engineering supports this as a condition of approval.
· Remove ADA detectable warnings at driveway crossings on New Rochester Rd.
· Coordinate painting of crosswalks in New Rochester Rd with CS.
· Sheet 6 of 28:
· Recommend removing or reducing the curb cut for units 16 & 17 on New Rochester Rd.
· Will an underdrain be provided to ensure stormwater does not exceed the reservoir course?
· Sheet 7 of 28:
· Applicant may want to consider providing one fire service to the building in lieu of the proposed two.
· Applicant to clarify why the water main is shown as bold. Does this imply it is insulated?
· Drainage Analysis:
· Total Areas analyzed do not match. Please correct.
· Alteration of Terrain Permit does not appear on the Cover sheet of the plan set or mentioned in the Drainage analysis. Please confirm that an application is required for 
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Copper and Ember Dr given that the disturbance collectively exceeds the 100,000 sf threshold.

Police:
· Previous comments addressed. 
· 14’ lamp near rear of property. 

Fire/Inspection Services:
· Sheet 6 note 36 revise Chapter 81 to reference the City of Dover Code.
· Applicant to cite to NH Building/Fire code, when applicable, due to state legislative amendments. 

Business Development:
· [bookmark: _Hlk152184220]Previous comments addressed. No new comments.

Planning Board:
· N/A

Next Steps: Applicant to revise and resubmit for January 23, 2024 Planning Board.

Adjournment: 
J.Maxfield  moved to adjourn at 12:37 pm. Seconded by: M. Speidel. Vote: U/A.
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