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	TECHNICAL REVIEW COMMITTEE MINUTES – P20-40

	
		

	
	Application Type:
	Site Plan Review 

	
	Applicant(s):
	Down Town Dover Storage LLC

	
	Owner(s):
	Down Town Dover Storage LLC

	
	Location:  
	14 Broadway (Tax Map 4, Lot 5)

	
	Date:
	July 9, 2020



[bookmark: _GoBack]INTENT: Proposal is to demolish existing single-story building and create a private commercial parking lot (49 spaces)

LOTS/UNITS PROPOSED: N/A

AGENDA ITEM #: 1

ACREAGE: 0.447 (~19,500 sq. ft.)

ZONING DISTRICT:  Central Business District (CBD) – General Sub-District

EXISTING LAND USE: Industrial

SURROUNDING LAND USE: Mixed use, commercial, railroad track

ZBA ACTION:  None

PERMITS REQUIRED:  

WAIVERS REQUESTED: None

ATTENDANCE:
Members: 
Elena Piekut (Planning)
Sgt. Marn Speidel (Police)
Dave White (Engineering)
Christopher Parker (Planning)
Dan Barufaldi (Economic Development)
Tom Abbott (Building/Fire)


Others:
Chris Raymond (TEC)
Nick Couturier (Owner)


June 18, 2020 Meeting Minutes:
Motion to approve made by D.White, to approve the minutes as presented. Second by D.Barufaldi. UA


Planning Comments: 
· Complete application checklist (“N/A” if not applicable)
· Seek additional blanket CUP for increasing nonconformity with regard to dimensional regulations
· Please revise the plan:
· Add Planning file # P20-40 to all plan sheets
· Signature and stamps of LLS/PE
· Add all relevant common site plan notes (replace general note #11, C-2)
· Provide neighborhood plan with lots and aerial image
· Incorporate existing conditions plan into plan set
· Provide lighting plan
· Complete landscaping plan/details, including maintenance; provide interior and perimeter landscaping or seek waiver(s)
· Indicate snow storage areas and add snow removal note
· Provide a more solid screening than split rail fence
· Provide masonry wall at Broadway frontage
· Relocate accessible spaces
· Clear up access easement (expires when current user vacates?)
· Provide bench, bike rack, waste bin in accordance with streetscape standards
· Consider providing electric vehicle charging stations
· How will cars be protected from tracks and vice versa? Consider fence
· How do cars maneuver out of parallel spaces?
· Is gate detail accurate? Hours of operation/How will parking be enforced?
· Have abutting owners been approached regarding possible collaboration?
· Provide DES sign off on remediation.

Police Department Comments:
· Attachments to the Traffic Impact Assessment did not print correctly.  
· Consider alternatives for access control that do not require a padlock gate.
· Disabled parking spaces on westerly edge of lot are not viable without a connecting walkway off site. Relocate to a point nearer entrance.

Parking (Police Department) Comments:
· Accessible spaces should be near Broadway, not opposite end
· Meter signs must clearly indicate private meters and meter rates

Engineering Comments: 
· Provide narrative on the permeable pavement, explaining the super spots?
· Provide chain link fence along tracks to prevent pedestrian use
· The driveway apron should be asphalt

Fire/Inspections Comments: 
· Need to provide proof of environmental remediation for the existing building.
· Have you discussed any special requirements with the Industrial Pre-Treatment Coordinator for the re-use of the site?

Economic Development Comments: 
· Please provide narrative on the plowing and maintenance of the permeable surface
· Did you consider a deck with additional parking?

Planning Board Comments: 
· Screen the lot from the railroad
· Add a note that any wall over 4’ tall needs a building permit.
· Address snow storage/removal.
· Concern with gate layout and configuration

Next Steps
Return for second TRC to demonstrate resolution of issues before going to Planning Board.

Motion by D.White to recess 11:00. Second by M.Speidel. U/A
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