INTENT: Proposal is to demolish existing single-story building and create a private commercial parking lot (49 spaces)

LOTS/UNITS PROPOSED: N/A

AGENDA ITEM #: 1

ACREAGE: 0.447 (~19,500 sq. ft.)

ZONING DISTRICT:  Central Business District (CBD) – General Sub-District

EXISTING LAND USE: Industrial

SURROUNDING LAND USE: Mixed use, commercial, railroad track

ZBA ACTION:  None

PERMITS REQUIRED:

WAIVERS REQUESTED: None

ATTENDANCE:

Members:

Elena Piekut (Planning)

Sgt. Marn Speidel (Police)

Dave White (Engineering)

Christopher Parker (Planning)

Dan Barufaldi (Economic Development)

Tom Abbott (Building/Fire)

Others:

Chris Raymond (TEC)

Nick Couturier (Owner)

June 18, 2020 Meeting Minutes:

Motion to approve made by D.White, to approve the minutes as presented. Second by D.Barufaldi. UA

Planning Comments:

- Complete application checklist (“N/A” if not applicable)

- Seek additional blanket CUP for increasing nonconformity with regard to dimensional regulations

- Please revise the plan:

  - Add Planning file # P20-40 to all plan sheets

  - Signature and stamps of LLS/PE

  - Add all relevant common site plan notes (replace general note #11, C-2)

  - Provide neighborhood plan with lots and aerial image

  - Incorporate existing conditions plan into plan set

  - Provide lighting plan

  - Complete landscaping plan/details, including maintenance; provide interior and perimeter landscaping or seek waiver(s)

  - Indicate snow storage areas and add snow removal note

  - Provide a more solid screening than split rail fence

  - Provide masonry wall at Broadway frontage

  - Relocate accessible spaces

  - Clear up access easement (expires when current user vacates?)

  - Provide bench, bike rack, waste bin in accordance with streetscape standards

- Consider providing electric vehicle charging stations

- How will cars be protected from tracks and vice versa? Consider fence

- How do cars maneuver out of parallel spaces?

- Is gate detail accurate? Hours of operation/How will parking be enforced?

- Have abutting owners been approached regarding possible collaboration?

- Provide DES sign off on remediation.

Police Department Comments:

- Attachments to the Traffic Impact Assessment did not print correctly.

- Consider alternatives for access control that do not require a padlock gate.

- Disabled parking spaces on westerly edge of lot are not viable without a connecting walkway off site. Relocate to a point nearer entrance.

Parking (Police Department) Comments:

- Accessible spaces should be near Broadway, not opposite end

- Meter signs must clearly indicate private meters and meter rates

Engineering Comments:

- Provide narrative on the permeable pavement, explaining the super spots?

- Provide chain link fence along tracks to prevent pedestrian use

- The driveway apron should be asphalt

Fire/Inspections Comments:

- Need to provide proof of environmental remediation for the existing building.

- Have you discussed any special requirements with the Industrial Pre-Treatment Coordinator for the re-use of the site?

Economic Development Comments:

- Please provide narrative on the plowing and maintenance of the permeable surface

- Did you consider a deck with additional parking?

Planning Board Comments:

- Screen the lot from the railroad

- Add a note that any wall over 4’ tall needs a building permit.

- Address snow storage/removal.

- Concern with gate layout and configuration

Next Steps

Return for second TRC to demonstrate resolution of issues before going to Planning Board.

Motion by D.White to recess 11:00. Second by M.Speidel. U/A