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	Application Type:
	Site Plan Review 

	
	Applicant(s):
	Summit Land Development

	
	Owner(s):
	Pointe West, LLC

	
	Location:  
	Pointe Place (Tax Map K, Lot 19)

	
	Date:
	July 9, 2020



[bookmark: _GoBack]INTENT: To construct one (1) mixed-use building, one (1) residential apartment building, and seven (7) townhouse buildings totaling 114 residential units and 15,000 sq. ft. commercial space with 256 total parking spaces, 178 are surface spaces. 

LOTS/UNITS PROPOSED: 114

AGENDA ITEM #: 1

ACREAGE:  8.5 acres

ZONING DISTRICT:  Innovative Technology (IT)

EXISTING LAND USE: Vacant

SURROUNDING LAND USE: Residential, Commercial

ZBA ACTION: None

PERMITS REQUIRED:  
Conditional Use Permit

WAIVERS REQUESTED:  waiver from providing plans for Building 7

ATTENDANCE: 
Members:
Christopher Parker, Planning
Tom Abbott, Inspection Services
Dan Barufaldi, Economic Development
Sgt. Speidel, Police
Dave White, Engineering
Elena Piekut, Zoning

Others: 
Corey Belden
Chad Kageleiry




Planning Comments: 
· Impact fees will be assessed ($326,148)
· TDR Fees will be assessed (89,832)
· W/S investment fees are applicable
· Project may trigger traffic control at Dover Point (currently triggered by 4th building on Pointe Place or Vehicular Refueling)
· Stamp and signature of PE, LLS, and architect needed on each plan submission
· Revise plans:
· Complete Conditions of Approval note on GN-1
· Update the note that Building 7 will need an architectural compliance hearing before BP.
· Clarify “TM” is tax map on note 7 on C-2
· Update name for the private road being created to be “Drive”
· Add correct topo of berm on landscape plan and identify landscaping along boundary with Sierra Hill Drive homes
· Remove the 5 homes on Julia that do not exist
· Revise Residential/Non-Residential Ratio due to removal of homes

Fire/Inspections Comments:
· Meet with J.Maxfield to confirm locations of FDCs are acceptable.
· Confirm 3 pad mount transformers supply the 7 townhouse style structures

Police Department Comments:
· Previous concern addressed

Engineering Comments: 
· Verify if there needs to be a Detectable Warning Panel on the island at the roundabout?
· Prior to Construction, will need a phase plan for the site work, to ID responsibility of bonding and installation.

Economic Development Comments:
· Previous concern addressed

Planning Board Comments:
· Previous concern addressed
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